| Category | Instrument / Hardware | Purpose / Benefits | Evaluation Focus | Aerospace-Grade Manufacturers | Relevant Software / Frameworks |
| --- | --- | --- | --- | --- | --- |
| High-Density Analog & Strain DAQ | High-Density Strain DAQ (Quarter/Half/Full Bridge) | Structural load testing, wing & fuselage | 24-bit, drift, excitation stability, density | HBK QuantumX, Gantner Q.series, Dewesoft SIRIUS, NI PXIe-433x | HBK catman, DewesoftX, LabVIEW, NI FlexLogger, MATLAB |
|  | Universal Voltage/Current DAQ | Pressure, flow, control feedback | ENOB, isolation, filtering | HBK, Gantner, Dewesoft, NI | DewesoftX, HBK catman, NI DAQmx |
|  | High-Speed Analog Input (50 kHz–5 MHz) | Vibration, acoustics, flutter tests | Anti-alias, sync, SNR | HBK Genesis, Dewesoft XHS, Crystal Instruments | Genesis Perception, DewesoftX HS, MATLAB Signal Processing Toolbox |
| Signal Conditioning (SC) Systems | Bridge Amplifiers / Shunt Cal Modules | Precision strain preparation | Noise, shunt accuracy | HBK, Kyowa, Vishay, Gantner | HBK catman, Vishay StrainSmart |
|  | Charge Amplifiers (IEPE Sensors) | Accelerometers, vibration rigs | Charge sensitivity, noise | Kistler, PCB Piezotronics, Dewesoft | Kistler KiDAU, DewesoftX |
|  | LVDT/RVDT Signal Conditioners | Actuator/landing gear displacement | Excitation stability | Moog, TE Connectivity, HBK | Moog TestSuite, HBK catman |
|  | Thermocouple/RTD SC Modules | High-density temp | CJC accuracy, noise | NI, Gantner, Dewesoft | NI FlexLogger, DewesoftX |
| Wireless Sensors & Telemetry | Wireless Strain Gauge Nodes | Strain without cabling | Battery life, sync, range | Kistler Rotating Telemetry, MicroStrain, HBK SomatXR Wireless | MicroStrain SensorCloud, HBK QuantumX Gateway |
|  | Wireless Temperature/Pressure Nodes | Engine ground testing | Reliability, packet loss | LORD MicroStrain, Dewesoft BlueNode | SensorCloud, DewesoftX |
|  | Wireless Vibration Nodes | Rotor, shaft monitoring | FFT on-node | Kistler, PCB | Kistler Telemetry Software |
|  | Wireless Control (WLAN/5G) | Remote relays/IO | Latency, encryption | Siemens SCALANCE, Phoenix Contact | TIA Portal, Profinet, MQTT frameworks |
| Distributed DAQ (EtherCAT/TSN) | EtherCAT DAQ Nodes | Minimal cables, deterministic loops | Cycle rate, jitter | Beckhoff, Gantner, Dewesoft IOLITE | TwinCAT 3, LabVIEW FPGA, MATLAB EtherCAT |
|  | TSN DAQ Nodes | Synchronized facility DAQ | PTP accuracy | NI TSN nodes | LabVIEW NXG/TSN Toolkit |
| Avionics Bus Instrumentation | ARINC 429 Multi-Channel DAQ | Avionics bus monitoring | Label integrity, timing | DDC, Astronics Ballard, AIM GmbH, NI | AIM PBA.pro, NI AIT Toolkit |
|  | ARINC 664/AFDX End Systems | Ethernet avionics | Determinism, redundancy | AIM, GE/Abaco, Astronics | AFDX Explorer, AIT AFDX Tools |
|  | MIL-STD-1553 | Legacy flight control | RT/BC/monitor modes | DDC, AIM, Astronics | AIM MILscope, NI 1553 Toolkit |
|  | CAN-FD/ARINC 825 | Spacecraft/bus systems | Timing, bit-rate | Peak, NI, Astronics | Vector CANalyzer, NI-XNET |
| Discrete I/O & Relays | Discrete DI/DO | Switches, sensors, contacts | Threshold accuracy, timestamp | NI, Beckhoff, Gantner | TwinCAT, NI DAQmx |
|  | High-Density Relay & Solenoid Drivers | Valves, hydraulics | Flyback handling | NI, Pickering, Dewesoft | TestStand, LabVIEW RT |
|  | Solid-State Switching Matrices | Sensor routing | Isolation, leakage | Pickering, VTI, Keysight | IVI drivers, LabVIEW Switch Exec |
| FPGA-Based DAQ & Control | PXIe FPGAs (Ultrascale) | High-speed decoding, filtering | DMA, fabric speed | NI PXIe-79xx, BittWare | LabVIEW FPGA, VHDL/Verilog, Vivado |
|  | cRIO FPGA Nodes | Rugged DAQ + control | EtherCAT, TSN | NI cRIO-904x/905x | LabVIEW FPGA, Scan Engine |
|  | EtherCAT FPGA Control | Deterministic loops | Cycle time | Beckhoff AX Series | TwinCAT 3 PLC + Motion + Analytics |
| Control Systems | Servo-Hydraulic Controllers | Landing gear, structural rigs | Loop bandwidth | MTS FlexTest, Moog, Instron | MTS RPC, Moog TestSuite |
|  | Real-Time HIL Platforms | Iron-bird, ECS, FCS | Determinism | NI PXI RT, dSPACE, OPAL-RT | VeriStand, dSPACE ControlDesk, Python RPC |
| DIC & Imaging Systems | 2D/3D DIC | Full-field strain | Calibration, sync | Correlated Solutions, GOM ARAMIS | Vic-3D, ARAMIS Pro |
|  | High-Speed Cameras | Flutter, impact | FPS, sync I/O | Photron, Phantom, IDT | Photron FASTCAM Viewer, TEMA |
| High-Speed Data Recording | NVMe RAID Recorders | Ground test full-rate logging | PCIe Gen4/5 | Galleon, HBK Genesis, Crystal Instruments | HBK Perception, Galleon Vortex, Linux ZFS |
|  | IRIG-106 Chapter 10/11 | Telemetry standard | Data integrity | Curtiss-Wright TTC, Safran | Curtiss Wright IADS, KSI Ch10 Tools |
|  | FPGA → NVMe Direct Streaming | Zero-loss logging | DMA, latency | BittWare, Galleon | Custom FPGA/Vivado pipelines |
| Networking & Transport | TSN Switches | Deterministic network | Time-aware scheduling | Cisco IE, Moxa TSN, Hirschmann | PTP/TSN Stack, Chrony, Meinberg Time Tools |
|  | 10G/25G/40G/100G Switches | DAQ → NAS streaming | Cut-through, jumbo frames | Arista, Cisco, FS.com | NetFlow, SFlow, RDMA frameworks |
|  | Optical Fiber Links | EMI-free data | Redundancy, SFP | Corning, Belden, FS | Fiber monitoring tools |
| Power & Electrical Test | Programmable Supplies | Simulated aircraft power | Transients, ripple | Chroma, EA, Keysight | LabVIEW, Python APIs |
|  | Regenerative Loads | Motor/actuator testing | Sink/source | NHR, Chroma | NHR Enerchron |
| Timing & Synchronization | TSN Grandmaster | Sub-µs sync | PTP profiles | Meinberg, Orolia | Meinberg SyncSuite |
|  | IRIG-B, GPS Time Servers | Facility time | Jitter | Spectracom, EndRun | IRIG Toolsets |